ORDINANCE NO. 146

AN ORDINANCE OF THE CITY OF UNIONTOWN, KANSAS TO AMEND ORDINANCE      NO. 130 ESTABLISHING MINIMUM STANDARDS FOR HOUSING AND PREMISES IN     THE CITY OF UNIONTOWN, KANSAS.

BE IT ORDAINED BY THE GOVERNING BODY OF THE CITY OF UNIONTOWN, BOURBON COUNTY, KANSAS.

Ordinance No. 130 shall be amended as follows:

SECTION 6.  REGULATIONS FOR THE USE AND OCCUPANCY OF DWELLINGS.  No person shall occupy as owner-occupant or let to another for occupancy any dwelling or dwelling unit, for the purpose of living, sleeping, cooking, or eating therein, which does not comply with the following requirements.  The following requirements are hereby declared essential to the health and safety of the occupants of such dwelling or dwelling unit:

(a)  Attached Garages or Non-dwelling Areas.  All non-dwelling occupancies shall be separated from the dwelling unit by a fire resistant wall and if the dwelling and garage are covered by a common or connecting roof, then the ceiling also must have a fire resistance rating of not less than one hour as defined in the building code.

(b)  Basement or Cellar.  The basement or cellar of any dwelling shall be kept free from rubbish accumulation.

(c)  Basement Dwelling Units.  The use of basements or cellars for dwelling units is prohibited unless they comply with Section 6(r) governing ventilation, provided however, if occupied at the time of the passage of this ordinance and if it complies with all other provisions of this ordinance.

(d)  Bathing Facilities.  Every dwelling unit shall contain within a room which affords privacy to a person in the room, a bathtub or shower in good working condition and properly connected to an approved water and sewer system.

(e)  Boarding and Rooming Houses.  No room shall be used for sleeping purposes unless the ceiling height is at least seven feet and there are at least 400 cubic feet of air space for each occupant over six years of age.  For sleeping rooms with sloping ceilings, the ceiling height shall be at least seven feet over at least 50 percent of the floor area.

(1)  Bathing facilities shall be provided in the form of a tub or shower for each eight occupants.  Separate facilities shall be provided for each sex and plainly marked.

(2)  A flush water closet shall be provided for each six occupants and shall be separated with the separate access from bathing facilities if more than four occupants are served by each.  Separate facilities shall be provided for each sex and shall be plainly marked.

(f) is hereby deleted.

(g)  Entrances.

(1)  There shall be for each dwelling unit a normally used separate access either to a hallway, stairway, or street, which is safe and in good repair.

(2)  A secondary exit to the ground shall be available in case of fire through windows, porch roofs, ladders or any combination that is free of hazard or egress.

(h)  Floor Area.  Every new dwelling unit shall contain at least 150 square feet of floor space for the first occupant thereof and at least 100 additional square feet of floor space for every additional occupant thereof.  The floor space shall be calculated on the basis of total habitable room area, inside measurements.  No floor space shall be included in determining habitable room area over which the ceiling is less than seven feet above the floor for the purpose of this subsection.

(i)  Garbage and Trash Receptacles.  Every dwelling and every dwelling unit shall be provided with such receptacles, not exceeding 32 gallon capacity, as may be necessary to contain all garbage and trash and such receptacles shall at all times be maintained in good repair.

(j)  Heating.  Every dwelling and every dwelling unit shall be so constructed, insulated, and maintained and be provided by owner or occupant with heating units so that it is capable of reaching an air temperature of 70 degrees Fahrenheit under ordinary winter conditions.  The chimney of the dwelling or dwelling unit shall be maintained in good order, and the owner of the approved heating equipment shall maintain it in good order and repair.

(k)  Kitchen Sink.  In every dwelling unit containing two or more rooms, there shall be at least one kitchen sink with public water under pressure and connected to the public sewer, or if that sewer system is not available, to a sewage disposal system approved by the city health department.

(l)  Lavatory Facilities.  Every dwelling unit shall contain within its walls a lavatory basin in good working condition and properly connected to an approved water and sewer system and located in the same room as the required flush water closet or as near to the room as practicable.

(m)  Lighting.  Every habitable room shall have a ceiling electric outlet and a duplex outlet in wall or floor, or at least two wall or floor outlets properly connected to an approved electric system.

(n)  Lighting of Toilets and Bathrooms.  Every toilet and every bathroom in every dwelling shall have at least one electric light in either the ceiling or on the wall properly connected to an approved electric system.

(o)  Plumbing.  All plumbing, water closets and other plumbing fixtures in every dwelling or dwelling unit shall be maintained in good working order.

(p)  Privies.  All pit privies, privy vaults, "dry hopper" sewer-connected privies and frost-proof closets are hereby declared to be a public nuisance.

(q)  Toilet Facilities.  There shall be at least one flush water closet in good working condition for each dwelling unit, which flush water closet shall be located within the dwelling and in a room which affords privacy.

(r)  Ventilation.  Every habitable room in a newly constructed dwelling or dwelling unit shall contain a window or windows openable directly to the outside air and the total area of such window or windows shall be not less than five percent of the floor area of such room.  An approved system of mechanical ventilation or air conditioning may be used in lieu of openable windows.  Such system shall be capable of providing not less than four air changes per hour, except that in toilet compartments such system shall provide a complete air change every five minutes and be automatically put in operation when the toilet compartment light is in the "on" position.

(s)  Water Heating Facilities.  Every dwelling shall have supplied water heating facilities which are installed in an approved manner and are maintained and operated in a safe and good working condition and are properly connected with the hot water lines to the kitchen sink, lavatory and bathtub or shower.

(t)  Windows and Doors.  Every window and exterior door shall be reasonably weather-tight, lockable, and rodent-proof and shall be kept in good working condition and good repair.

SECTION 8.  DESIGNATION OF UNFIT DWELLINGS.  The designation of dwellings or dwelling units as unfit for human habitation and placarding of such unfit dwellings or dwelling units shall be carried out in compliance with the following requirements:

(a)  Five citizens may petition in writing, that any dwelling unit is unfit for human use or habitation if he, she or they find that conditions exist in such structure which are dangerous or injurious to the health or safety of the occupants of such buildings or other residents of the

neighborhood, or which shall have a blighting influence on properties in the area.

(b)  Such Conditions may include the following without limitation:

(1)  Defects therein increasing the hazards of fire, accident, or other calamities.

(2)  Lack of:

(i)  Adequate ventilation.

(ii)  Light.

(iii)  Cleanliness.

(iv)  Sanitary facilities.

(3)  Dilapidation.

(4)  Disrepair.

(5)  Structural defects.

(6)  Overcrowding.

(7)  Inadequate ingress and egress.

(8)  Unsightly appearance that constitute a blight to the adjoining property, the neighborhood or the city.

(9)  Air Pollution.

(c)  Placarding - Order to Vacate.  Any dwelling or dwelling unit condemned as unfit for human habitation, and so designated and placarded by the mayor or his designated agent, shall be vacated within a reasonable time as so ordered.

(d)  Notice of Violation.  Procedures as outlined in Section 12 are applicable hereto.

(e)  Compliance Required before Reoccupancy.  No dwelling or dwelling unit which has been condemned and placarded as unfit for human habitation shall again be used for human habitation until written approval is secured from, and such placard is removed by the mayor or his designated agent.

(1)  The mayor or his designated agent shall remove such placard whenever the defect or defects upon which the condemnation and placarding action were based have been eliminated.

(2)  It shall be unlawful for anyone to let, lease, occupy or permit the occupancy, whether for a consideration or not, of any dwelling so posted and any violation of this provision shall constitute a public offense within the meaning of this ordinance.

(3)  It shall be unlawful for any person to deface or remove the placard from any dwelling or dwelling unit which has been condemned as unfit for human habitation and placarded as such, except the mayor or his designated agent as herein provided, and any violation of this provision shall constitute a public offense within the meaning of this ordinance.

SECTION 9.  DESIGNATION OF BLIGHTED PREMISES (RESIDENTIAL AND NON- RESIDENTIAL).  The designation of unsightly and blighted premises and elimination thereof shall be carried out in compliance with the following requirements.

(a)  Five citizens may petition in writing that if the appearance of a premise is not commencerate with the character of the properties in the neighborhood or otherwise constitutes a blight to the adjoining property or the neighborhood or the city for such reasons as, but not limited to:

(1) Dead trees or other unsightly natural growth.

(2)  Unsightly stored or parked material, equipment, supplies, machinery, trucks or automobiles or parts thereof; vermin infestation.

(3)  Violation of any other law or regulations relating to the use of land and the use and occupancy of the buildings and improvements.

(b) Notice of Violation.  Procedures as outlined in Section 12 are applicable hereto.

SECTION 11 is hereby deleted.

SECTION 12.  NOTICE OF VIOLATIONS; PROCEDURES.

(a)  Informal Discussion. Whenever a petition has been filed, the mayor will arrange with the alleged violator for an informal discussion of violations, and whether repair and correction is justified.

(b)  Formal Hearing.  If a satisfactory solution to the violations, either by correction, demolition or removal, is not forthcoming, then a legal notice of a formal hearing will be issued according to the following procedures:

(1)  Shall be in writing.

(2)  Shall list the violations alleged to exist or to have been committed.

(3)  Shall provide a reasonable time, but not less than 30 days in any event for the correction of the violations particularized.

(4)  Shall be addressed to and served upon the owner of the property, the operator of the dwelling, and the occupant of the dwelling unit or the rooming unit concerned, if the occupant is or may be responsible for violation.

(5)  If one or more persons whom the notice is addressed cannot be found or served after diligent effort to do so, service may be made upon such person or persons by posting a notice in a conspicuous place in or about the dwelling affected by the notice, in which event the mayor or his designated agent shall include in the record a statement as to why such posting was necessary.

(6)  Delivery shall be by certified mail, return receipt requested, or by personal service. If service is made by certified mail, the mayor or his designated agent shall include in the record a verified statement giving details regarding the mailing.

SECTION 13 is hereby deleted.

SECTION 15.  ORDER TO CORRECT AND/OR REPAIR, REMOVE OR DEMOLISH.  At the time of the placarding and order to vacate specified by Section 8(c) hereof, the mayor or his designated agent shall also issue and cause to be served upon the owner a notice advising of the option of removal or demolition in lieu of correction and/or repair following the procedures as outlined in Section 12.

SECTION 16 is hereby deleted.

INTRODUCED, PASSED AND APPROVED by the Governing Body of the City of Uniontown, Kansas this 13th day of March, 2007.

_______________________________

Mayor

ATTEST:

______________________________________

Linda E. Gier, City Clerk